IECC Site Commercial Inspection Report

Terry F. Brewer & Associates ( 619 Mercury Ave., Suite 108  (  Duncanville, Texas 75137

t@tfba.com  (  www.tfba.com  (  (972) 298-3525  (  Fax (972) 298-3521

Address ________________________________________ City__________________Texas ( Job # IECC 200___-_____

Under Floor Inspection         	Date_____________  Approved        Disapproved    Initials _______

Violations

Insulate Hot Water piping under floor____________	___________________________________________

Air Tightness Inspection         Date_____________       Approved  Disapproved   Initials _______

Violations					     	 Violations

802.3.2 Seal Base plate____________________________	 802.3.2 Seal Wiring Penetration_________________________

804.5 ½” Insulate Cold Water within 8’ of water heater____	 804.5 ½” Insulation on Hot & Cold Water within 8’ of water heater

804.5Provide heat trap on water heater________________	 803.2.8 Outside of envelope, Provide R-8 duct insulation _____

802.3.2 Tape around penetrations of outside vapor barrier	 803.2.8 Outside of envelope, Provide R-8  on return duct _____  Report: To many watts of lighting____________________	 Report: Window U=___SHGC___Installed  U=___SHGC_____

Report: Windows wrong SHGC______________________	 Report: Window U=___SHGC___Installed U=____SHGC___te_____________  Report: Door wrong U-value ________________________	 Report: Window U=___SHGC___Installed U=____SHGC_____

Report: Door wrong SHGC_________________________	 802.3.2 Tape joints of vapor barrier_______________________

802.3.2Seal around door frame______________________	 802.3.2 Seal around Window frames______________________

_______________________________________________	 ___________________________________________________

_______________________________________________	 ___________________________________________________

Insulation Inspection 	Date____________	 Approved  Disapproved Signed ________________

Violations					      	Violations

Report: Wall wrong R- value________________________	 Report: Ceiling wrong R- value__________________________

Report: Knee Walls not insulated____________________	 Report: Ceiling R=______Installed R=____________________

Report: Wall R=________Installed R=________________	 Attic Insulation to be reviewed on final inspection ____________

Report: Wall R=________Installed R=________________	 ___________________________________________________

802.3.2 Insulated lay-in ceiling not allowed___________	 ___________________________________________________

______________________________________________	 ___________________________________________________

Above Ceiling Inspection Date__________  Approved  Disapproved Signed ________________

Violations					      	Violations

102.5.3 Support ducts at 10’ O.C. Max ________________	 803.3.8.1 Each air outlet to have a means of balancing_______

803.2.8Provide UL-181 duct sealing __________________	 __________________________________________________

______________________________________________	 __________________________________________________

Interior Membrane (i.e. Gypsum Board) Inspection Date__________  Approved  Disapproved

Violations					      	Violations                                        Initials _____

______________________________________________	 802.3.2Remove light fixture for sealant inspection___________

802.3.2Seal around electrical outlets__________________	 802.3.2Seal around light fixture j-box______________________

______________________________________________	 ___________________________________________________

______________________________________________	 802.3.2Remove electrical cover plates for sealant inspection

Final Inspection     Date_____________  Approved      Disapproved Signed __________________

Violations					      	Violations

102.3 Provide A/C Manuals_________________________	 102.3 Provide hot water heater manuals___________________

Report: Ceiling wrong R- value______________________	 802.3 Provide sweep strip on exterior doors________________

Report: Knee Walls not insulated_____________________	 802.3Provide jam, head weather-stripping on doors__________

802.3Provide Weather-stripping on attic access_________   805.5 Exterior Light Fixture less than 45 lumens per watt _____   Report: Knee Wall R=______Installed R=_____________	 Report: Attic Insulation Ceiling R=____Installed R=__________

805.2.2.2 Automatic lighting shutoff___________________ 	 Blow-In Attic Insulation  Thickness________ Bags___________

805.2.1.1 Provide Bi Level swing _____________________	 102.5.1.1 Blow-in Certificate not found ____________________

805.2.1 Lighting not Switched (breaker switch not allowed)	 Attic certificates, need, bags, thickness, & settled thickness

Report: Ceiling R=______Installed R=________________	 102.5.1.1 Blow-in need depth markers

803.3.1 Provide load Calculations (ASHRAE or Manual- J)	 Report: Ceiling R=______Installed R=________________

803.3.3.3.2 Thermostatic, 7 different programmable day __	 ___________________________________________________

Place a ribbon on each air outlet damper or provide as built drawings  __________________________________________

Comments

Do not cover any work without approval form the City 	 ___________________________________________________

______________________________________________	 ___________________________________________________

______________________________________________	 ___________________________________________________

______________________________________________	 ___________________________________________________

Inspected by Terry F. Brewer  ICC Commercial Energy Inspector #5116886-77

(Red paper indicates corrections needed; Green paper indicates marked area, has no violations seen; Yellow paper indicates corrections needed, proceed to next step with caution, do not close noted items until reviewed)